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Condition report
Riverside property inspection
1180 Riverside Drive, Ottawa, ON K1G 3R2
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Prepared for  Riverside Condominium Corp. No. 214
Site visit  October 21, 2026 to October 24, 2026
Prepared by  Dana Okafor, P.Eng., Northline Building Consultants
Weather on site  Overcast, 8 °C
Northline Building Consultants, 410 Bank St, Ottawa, ON
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1  Summary
Northline Building Consultants was asked by Riverside Condominium Corp. No. 214 to review 1180 Riverside Drive, Ottawa, ON K1G 3R2. The site visit took place on October 21, 2026.
2  Exterior
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Photo 2.1  Repointing paused at the second-floor line. October 21, 2026
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Photo 2.2  Landscaping along the west side is complete. October 21, 2026
	



3  Roof
The roof was reviewed on October 21, 2026 from the roof hatch. Weather: Overcast, 8 °C.
The upper penthouse roof could not be reached.
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Photo 3.1  October 21, 2026
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Photo 3.2  Gutter guard installed on the east side only. October 21, 2026



The photos below show the north parapet, reviewed from the roof hatch on October 21, 2026.
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Photo 3.3  Lifted flashing at the north parapet. Resealing is part of the remaining scope. Main roof. October 21, 2026
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Photo 3.4  Flashing at the north parapet is lifted and not yet resealed. October 21, 2026



4  Unfinished
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Photo 4.1  Foundation crack has been routed but not filled. October 21, 2026
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